## Slide 1: IT 4823 Information Security Administration
Physical and Infrastructure Security

## Slide 2: Physical Security
Physical security addresses design, implementation, and maintenance of countermeasures that protect physical resources of an organization.
Most controls can be circumvented if an attacker gains physical access.
Physical security is as important as logical security.

## Slide 3: Physical Security Context

## Slide 4: Major Sources of Physical Loss
People (!)
Extreme temperature
Gases
Liquids
Living organisms
Projectiles
Movement
Energy anomalies
From Donn B. Parker

## Slide 5: Physical Security Threats
We can group these threats:
Environmental threats (including natural disasters)
Technical threats
Human-caused threats, both malicious and accidental.

## Slide 6: Forces of Nature
Wind (tornado, hurricane)
  Location
  Construction
Flood
  Location
Electrical storms
  Power redundancy
  Construction
  Location
Ice storm, blizzard Location Construction
Earthquake Location Construction
Extremes of heat and cold
HVAC

## Slide 7: Environmental Threats
Inappropriate temperature and humidity
Fire and smoke
Water
Chemical, radiological, biological hazards
Dust (especially paper dust)
Infestation (mold, insects, vermin)

## Slide 8: Technical Threats
Electric power is essential to run equipment
  power utility problems:
    under-voltage - dips/brownouts/outages, interrupt service
    over-voltage - surges/faults/lightening, can destroy chips
    noise - on power lines, may interfere with device operation
Electromagnetic interference (EMI)
  from line noise, motors, fans, heavy equipment, other computers, nearby radio stations and microwave relays
  can cause intermittent problems with computers

## Slide 9: Human-Caused Threats
Less predictable, may be targeted, harder to deal with
Include:
  unauthorized physical access leading to other threats
  theft of equipment / data
  vandalism of equipment / data
  misuse of resources

## Slide 10: Mitigation Measures for Environmental Threats
Inappropriate temperature and humidity
  environmental control equipment, power
Fire and smoke
  alarms, preventive measures, fire mitigation
  smoke detectors, no-smoking policy, housekeeping
Water
  manage lines, equipment location, cutoff sensors
Other threats
  appropriate technical counter-measures, limit dust entry, pest control

## Slide 11: Mitigation Measures for Technical Threats
Electric power for critical equipment use
  Uninterruptible power supply (UPS)
  Emergency power generator
Electromagnetic interference (EMI)
  Filters and shielding
  Dedicated circuits

## Slide 12: Mitigation Measures for Human-Caused Threats
Physical access control
  IT equipment, wiring, power, communications, media
Several areas to consider
  restrict building access, locked area, secured, power switch secured, tracking devices for portable equipment
Intruder sensors / alarms

## Slide 13: Management Roles
General management: responsible for facility security
IT management and professionals: responsible for environmental and access security
Information security management and professionals: perform risk assessments and implementation reviews; implement technical controls.

## Slide 14: Physical Access Controls
Secure facility: a physical location engineered with controls designed to minimize risk from physical threats
A secure facility can take advantage of natural terrain, traffic flow, and degree of urban development; can complement these with protection mechanisms (fences, gates, walls, guards, alarms)

## Slide 15: Computer Rooms, Wiring Closets
Require special attention to ensure confidentiality, integrity, and availability of information
Many logical controls are easily defeated if attacker gains physical access to computing equipment

## Slide 16: Protecting the Secure Facility
Physical Barriers
  Exterior walls, fencing, and gates
  Locks and keys
  Interior walls
Identification
  ID Cards and badges
Monitoring Electronic monitoring Alarm systems
Human (and animal) Barriers
Guards Dogs

## Slide 17: ID Cards and Badges
Ties physical security with information access control
  ID card is typically concealed
  Name badge is visible
Serve as simple form of biometrics (facial recognition)
Should not be only means of control as cards can be easily duplicated, stolen, and modified
Tailgating occurs when unauthorized individual follows authorized user through the control

## Slide 18: Locks and Keys
Two types of locks: mechanical and electromechanical
Locks can also be divided into four categories: manual, programmable, electronic, biometric
Locks can fail; alternative procedures for controlling access must be put in place
Locks fail in one of two ways
  Fail-safe (open) lock
  Fail-secure lock
Fail-secure locks may violate fire codes

## Slide 19: Electronic Monitoring
Records events where other types of physical controls are impractical or incomplete
May use cameras with video recorders; includes closed-circuit television (CCT) systems
Drawbacks
  Reactive; do not prevent access or prohibited activity
  Recordings often not monitored in real time; must be reviewed to have any value
Some monitors can call attention to changes in real time

## Slide 20: Alarms and Alarm Systems
Alarm systems notify monitoring station when an event occurs
Detect fire, intrusion, environmental disturbance, or an interruption in services
Rely on sensors that detect event; e.g., motion detectors, smoke detectors, thermal detectors, glass breakage detectors, weight sensors, contact sensors, vibration sensors

## Slide 21: Alarm Monitoring
Audible alarms
  Rely on “whoever’s close by” to take action
  May have deterrent value as burglar/intrusion alarms
Auto-dialers
  Call one or more numbers with a pre-programmed message
  Direct police/fire calls generally not permitted
Remote monitoring (service or in-house)

## Slide 22: Interior Walls and Doors
Information asset security are sometimes compromised by construction of facility walls and doors
Facility walls typically either standard interior wall or fire- rated wall
High-security areas must have firewall-grade or masonry walls to provide physical security from potential intruders and improve resistance to fires
Doors allowing access to high security rooms should be evaluated
Recommended that push or crash bars be installed on computer rooms and closets

## Slide 23: Fire Security and Safety
A serious threat to safety of people who work in an organization is possibility of fire.
Fires account for substantial property damage, personal injury, and death.
Imperative that physical security plans examine and implement strong measures to prevent, detect, and respond to fires.

## Slide 24: Fire Prevention
Smoking policy
Good housekeeping
Policy on portable electric heaters
Equipment maintenance, especially of portable equipment.

## Slide 25: Fire Detection and Response
Fire suppression systems: devices installed and maintained to detect and respond to a fire
Deny an environment of heat, fuel, or oxygen
  Water and water mist systems
  Carbon dioxide systems
  Soda acid systems
  Gas-based systems

## Slide 26: Fire Detection
Fire detection systems fall into two general categories: manual and automatic
Part of a complete fire safety program includes individuals who monitor chaos of fire evacuation to prevent an attacker accessing offices
There are three basic types of fire detection systems: thermal detection, smoke detection, flame detection

## Slide 27: Fire Suppression
Systems consist of portable, manual, or automatic apparatus
Portable extinguishers are rated by the type of fire: Class A, Class B, Class C, Class D
Installed systems apply suppressive agents; usually either sprinkler or gas systems

## Slide 28: Gas Emission Systems
Until recently, two types of systems: carbon dioxide and Halon
Carbon dioxide robs a fire of oxygen supply (but is dangerous as h … well, it’s dangerous because it can silently kill people!)
Halon is clean but has been classified as ozone- depleting substance; new installations are prohibited
Alternative “clean” agents include FM-200, Inergen, FE-13 (trifluromethane)

## Slide 29: Failure Of Supporting Utilities
Supporting utilities (heating, ventilation and air conditioning; power; water; and others) have significant impact on continued safe operation of a facility
Each utility must be properly managed to prevent potential damage to information and information systems

## Slide 30: Utilities
Heating, ventilation, air conditioning
  Computer area
  Remainder of building
Electric power
Water and sewer service
Natural gas
Transportation

## Slide 31: Heating, Ventilation, and Air Conditioning
HVAC systems control:
Temperature
Filtration
Humidity (and static electricity)

## Slide 32: Specifying HVAC
Multiple smaller units
N+1 redundancy, at least
Size for extreme ambient temperatures (both low and high)
Consider the increasing density of equipment
In cold climates, consider “economizing” systems
Don’t forget emergency power for the HVAC
32

## Slide 33: Ventilation Shafts
While ductwork is small in residential buildings, in large commercial buildings it can be large enough for individual to climb though
If vents are large, install wire mesh grids at various points to compartmentalize the runs

## Slide 34: Water Problems
Lack of water poses problem to systems, including functionality of fire suppression systems and ability of water chillers to provide air conditioning
Surplus of water, or water pressure, poses a real threat (flooding; leaks)
  No pipes (except sprinklers) within computer rooms
  Under-floor water detection
Very important to integrate water detection systems into alarm systems that regulate overall facilities operations

## Slide 35: Structural Collapse
Unavoidable forces (earthquake, explosion, physical attack) can cause failures of structures that house organization
Structures are designed and constructed with specific load limits; overloading these limits results in structural failure and potential injury or loss of life
Periodic inspections by qualified civil engineers assist in identifying potentially dangerous structural conditions

## Slide 36: Interception of Data
Three methods of data interception
  Direct observation
  Interception of data transmission
  Electromagnetic interception
U.S. government developed TEMPEST program to reduce risk of electromagnetic radiation (EMR) monitoring

## Slide 37: Mobile and Portable Systems
With the increased threat to information security for laptops, tablets, and smart phones, mobile computing requires more security than average in- house system.
Many mobile computing systems have corporate information stored within them; some are configured to facilitate user’s access into organization’s secure computing facilities.
Theft of laptops, phones, etc. is a major risk

## Slide 38: Remote Computing Security
Remote site computing: away from organizational facility
Telecommuting: computing using telecommunications including Internet, dial-up, or leased point-to-point links
Employees may need to access networks on business trips; telecommuters need access from home systems or satellite offices
To provide secure extension of organization’s internal networks, all external connections and systems must be secured

## Slide 39: In-House or Outsourced?
Many qualified and professional agencies
Benefit of outsourcing includes gaining experience and knowledge of agencies
Downside includes high expense, loss of control over individual components, and level of trust that must be placed in another company

## Slide 40: Inventory Management
Computing equipment should be inventoried and inspected on a regular basis
Classified information should also be inventoried and managed
Physical security of computing equipment, data storage media and classified documents varies for each organization

## Slide 41: Questions