Module 2, Lab 2:  BIOL 3310 Lab activities and exercises.

STAINING AND MICROSCOPY.

START of LAB:

- Decontaminate your bench with 70% ethanol,

- Wash your hands

- Listen to overview and complete activities

| Supplies Per student. - Heat fixed smears of - Staphylococcus aureus - Escherichia coli - An unknown organism - Concave well slide - Cover slips - Sterile transfer pipette | Shared with bench partner. - Gram stain kit - Deionized water bottle (D.I.) - Staining rack and tray - Heated Bacinerator - Biohazard disposal bag - Black sharpie marker - Pencil - Bibulous paper - Lens paper - Microscope - Immersion oil - Pond water sample |
| --- | --- |

- Gram Stain technique:

A differential stain to distinguish Gram positive bacterial species from Gram negative species.

Stain each slide using the differential Gram stain technique.

- Observe the heat fixed slides to ensure that a visible smear has been applied to the side of the slide with the label

- Add your initials to the slides in the frosted label area

- Place slides on the staining rack with the smear facing upwards

- Follow the Gram stain procedure described in the diagram below

  - Ensure that each stain is added drop by drop to cover the entire smear with a flood of stain

  - Do not break surface tension by adding too much stain.

Gram Stain Procedure:

Each staining step should take 30 seconds.

Wash with D.I. water after each step.

The alcohol decolorization step should be 10-20 seconds ONLY.

Blot carefully with bibulous paper and completely air dry before observing under x40 objective.

This Photo by Unknown Author is licensed under CC BY-NC

- For each wash step.

  - Hold the slide angled downwards over the staining tray.

  - Wash D.I. from the top of the slide only.

  - DO NOT WASH DIRECTLY ON THE SMEAR.

  - Wash above the start of the smear and allow the water to flow over it until no more dye runs free.

  - When you complete your staining make sure that your slide in completely dry before placing it on the microscope stage.

- Observe using the x40 and x100 (oil immersion) objectives.

- OIL IS ONLY USED FOR THE x100 OBJECTIVE

  - Remember that objectives are parfocal.

  - Once an image is in focus with the x40 objective DO NOT MOVE THE STAGE when swinging in the x100 objective.

  - Only fine focus should be needed to recover your resolution between the x40 and x100 due to the parfocal nature of the lens.

- Remember to adjust your lighting and iris diaphragm as you change objectives.

- Determine which organism is Gram positive (purple) and which is Gram negative (pink).

  - Identify your unknown on the basis of the results.

  - Dispose of slides in the sharps bin and clean the microscope.

- Microbial pond life:

Use a wet mount preparation to observe living microbes in their natural environment of pond water.

- Clean the concave well slide with lens paper and establish which side has the well

- Resuspend the material in the pond water sample by gentle flicking the tube with your finger

  - Remove a sample of pond water with a sterile transfer pipette.

  - With the microscope slide well opening facing upwards add 1-2 drops of specimen to fill the cavity

  - Return excess sample to the tube.

  - Dispose of pipette in biohazard bag

- Add a cover slip to the sample by touching one side to the glass of the slide then slowly lowering the other side over the sample and well.

  - Use lab tissue to remove any water which has spread out from the coverslip

  - The area around the coverslip MUST be dry before you transfer to the microscope.

- Start at low power and try to focus on some organic matter in the sample.

  - Move up through the objectives to x 400 magnification.

  - Toggle your stage back and forth to observe for organisms.

  - The well side produces a deep specimen – you will have to focus through each plain by moving the objective with the fine focus dial.

- Remember to adjust your lighting and iris diaphragm as you change objectives.

- When you have finished return wet mount slide to the front bench.

- Clean and put away the microscope.

END of LAB:

- Decontaminate your bench with 70% ethanol,

- Wash your hands

- Collect an assignment and exit the lab.